The catalog of the cold shot IPL hair removal machine	
Product Name	Picture	Model	Application	Specification	Unit Price	Shipping cost via DHL	warranty	
Salon IPL System		H200	Hair removal
Vascular Therapy
3.Acne and acne scare removal
4.Skin rejuvenation
5.Wrinkle removal
6. Freckle removal
7. Whiten skin & face lifting	1.LED Screen: 5.6 chromatic Touch Screen 
2.Light sourec:Intense pulse Light (IPL) 
3.Spectra:420nm-1200nm/530nm-1200nm/560nm-1200nm/ 610nm-1200nm/ 690nm- 1200nm 
4.Filter:Interchangeable Filter 
5.Crystal:sapphire 
6.Spot Size: 40mm*8mm 
7. Energy Density:50Jcm2(max) 
8. Pulse Sequence:1-6(independently adjustable) 
9. Pulse Duration:0-20ms(0.1ms) 
10. Pulse Delay:0-100ms 
11. Delay of Continual Irradiance:1s-3s(0.5s) 
12. Handpiece Connector:Fast Connector 
13.CoolingSysten:Water Cooling and Semicondutor Cooling 
14. Rated Input Power:1500VA
15.Rated Input Voltage:AC230V+-10%, 50Hz+-1Hz/ AC110V+-10%, 60Hz+-1Hz
16. Net Weight: 23kg
17. Physcle Dimension: Host: 36cm*36cm*41cm
      Bracket: 38cm*35cm*70cm (optional)	40719MXN	4412MXN 	One full year warranty	
IPL hair removal machine		H500	因为无法复制，请按照网页链接，帮我绑对应的产品功效的西班牙语填在里面下，谢谢	因为无法复制，请按照网页链接，帮我绑对应的产品技术参数的西班牙语填在里面下，谢谢	47526MXN	7879MXN 	One full year warranty