| Type | Escalator lighting brushes |
| --- | --- |
| Power Supply | 24V |
| Current Consumption | 400mA/m±10% |
| Protection Class | IP65 |
| Temperature | -25℃—75℃ |
| Design Life Span | 50000H |
| Dominant Wavelength | 5000-6000K |
| Luminous Intensity | 800lux-1600lux |
| Max. Serial Connection Length | 42m |
| Luminosity Attenuation at end | ≤10% |
| Power | 11W/m |
| LED Number | 42/m |
| LED color | Can be selected by the customer |