www

| 沧州市金泰衡器有限公司 CANGZHOU KINGTYPE WEIGHING APPARATUS CO.,LTD truck scale quotation |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Buyer |  |  |  |  |  | Date | Jan. 28th 2015 |  |  |  |  |
|  |  |  |  |  |  | Offer No. | KT20150128 |  |  |  |  |
| Seller | Canzhou Kingtype Weighing Apparatus Co.,Ltd Mob:+8615031787104 FAX: +86-317-2121857 Mandy |  |  |  |  | Validity date | Feb. 28th 2015 |  |  |  |  |
| Full details |  |  |  |  |  |  |  |  |  |  |  |
| Item | Weight & Volume |  | Specification |  | Unit Price |  |  | Quantity |  |  | Total Price |
| 3MX18M (100t) | 9.0t 13cbm |  | 1.Structure:U-sharp beams 2.Flat plate: 10mm 3. Accuracy class:OIML(III) 4.Body:3section 6parts: Each Part: 1.5WX5.7Lm 5.Across Bar:4parts Each part: 0.22X3Lm |  | 7922 USD/set |  |  | 1 set |  |  | 7922 USD |
| Total Price: FOB TIANJIN |  |  |  |  |  |  |  |  | 1 set |  | 7922 USD |
| The price above include: |  |  |  |  |  |  |  |  |  |  |  |
| Standard part |  | - Scale body 2.load cells 3.indicator 4.junction box 5.english weighing software 6.foundation plate 7.screws 8.cable(30m) etc |  |  |  |  |  |  |  |  |  |
| Port of loading |  | Tianjin port |  | Port of delivery |  |  |  |  |  |  |  |
| Terms of payment |  | 30%T/T deposit advance payment, the 70%balance by copy of B/L. |  |  |  |  |  |  |  |  |  |
| Delivery |  | After received the deposit within 15 days |  |  |  |  |  |  |  |  |  |
| Warranty |  | 3 years for scale body, 1 year for accessories |  |  |  |  |  |  |  |  |  |

| Accessory parts | Specification | pictures | Packing |
| --- | --- | --- | --- |
| Load cell(20t) ZEMIC brand | 1. Alloy steel construction Nickel plated, hermetically welded Oil-proof, waterproof and anti-corrosive gas and medium making 2. Dual shear beam Easy installation, reliable performance 3. With OIML approval |  | 8pcs/set |
| Indicator (XK3190 D10) YAOHUA brand | 1. A/D conversion with readability 1/30000 2. Save 1500 vehicle ID/net weight, 201 cargo ID/cargo name, 100 customer ID/customer name, 100 notes and 1501 weighing records 3. Display: 7 bits, LED, 7 status indications |  | 1pc/set |
| Junction box(IP68) | Using water proof seal joint for prevent water special seal connection during and with perfect seal function |  | 1pc/set |
| Weighing Soft | Install software in PC operate the truck ID, tare, net, gross, accumulation etc intelligence automatic system |  | 1pc/set |
| Scews | Kingtype |  | many |
| Foundation plates | Kingtype |  | 8pcs/set |
| Cables(30M ) | Kingtype |  | 1pc/set |

CUSTOMER VISIT OUR PLANT:

(Australia)                   (Saudi Arabia)

(Russia)                          (Peru)

( Philippines)                  (Surinam)

Welcome to visit our plant and our weighbridge!!!

Contact detail:

NAME : Miss. Sally (Sales manager)

Direct: 86+0317-3158577  | Mobile: +86 15031787104

Fax: 86+0317-2121857     Email: mandy.0830@hotmail.com

Skype: pretty..mandy

QQ: 393746026

Alibaba ID: cn220064952

Wechat ID: Miss_Pretty-Mandy

Website: www.scales-world.com