GuangYuan GYS Series Air Handling Unit (AHU)

- Photos of AHU

二．Specifications of GYS series Air Handling Units:

| Model | Air Volume (M3/H) | Full Pressure (Pa) | Motor ( KW) | Fan type | Dimension (mm) (Length X Windth X Height) | Basic Functions | Optional Functions |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GYS-15 | 15000 | 150 / 250 / 350 | 2.2/ 3/ 4 | Centrifugal | 2300 X 1350 X 1250 | Cooling; Humidifying; Primary Filter. | Heating; Medium Efficiency (Filter Bag filter or Panel filter, HEPA filters); Advanced Humidification |
| GYS-20 | 20000 | 350 / 450 / 550 | 4/5.5/7.5 |  | 2600 X 1550 X 1350 |  |  |
| GYS-25 | 25000 | 400 / 550 / 650 | 5.5/7.5/11 |  | 2750 X 1550 X 1450 |  |  |
| GYS-30 | 30000 | 400 / 650 / 750 | 7.5/11/11 |  | 3100 X 1750 X 1550 |  |  |
| GYS-40 | 40000 | 300 / 550 / 750 | 7.5/11/15 |  | 3350 X 1900 X 1700 |  |  |
| GYS-50 | 50000 | 450 / 650 / 850 | 15/18.5/22 |  | 3650 X 1900 X 1900 |  |  |

三．Advantage:

1. Efficient cooling units

2. Energy-saving 80%

3. Environmental protection, taking water as cooling medium, not contain the Freon.

4. Less maintenance

5. Low noise

6. Set ventilate, air change, cooling, dustproof, Remove odor at a suit, increasing the air oxygen levels, improving

the working effect!

7. Has big air volume, far distance air delivery, can connect pipe to realize position cooling and air supply!

8. Can be equipped with automatic control system, to realize the automatic control of the unit and energy saving operation.

EMAIL:  SophiaIndustry2006@163.com          SKYPE:  Sophia201109          WECHAT: SophiaCooler       QQ： 1759335332

MOBILE： 086-13356265706  or    086-15053416882                       TEL: 86- 0534-2728818               FAX:86-534-2728596

COMPANY:  DEZHOU GUANGYUAN ENVIRONMENTAL PROTECTION TECHNOLOGY CO.,LTD

ADDRESS: Intersection of Tianqu East Road and Chongde Twelve Road, Eastern Project Zone, Economic and Technological Development

Zone, Dezhou，Shandong, China

Sophia Yu