Quotation Sheet

| Our Ref No. | ICT-FR-20150911-01 | Date: Sep.11th, 2015 |
| --- | --- | --- |
| To: |  | ICESTA Ice Systems |
| Attn: | Doki Warou | From: Ms. Sharon |
| Email: | dokiwarou@yahoo.fr | Email : sharon@icesta.com |
|  | Tel:+86- 0755-29914211 Fax: +86-0755-29914210 |
| Subject: | Quotation for 3/ 5/ 10 ton containerized block ice machine |

1).Quotation for 3/ 5/ 10 ton containerized block ice machine

| Item No. | Model | Capacity(T/24h) | Unit price (USD) |
| --- | --- | --- | --- |
| Containerized Block ice machine | IFBC3T-R2WM | 3t/24h | 21,600.00 |
| Containerized Block ice machine | IFBC5T-R2WM | 5t/24h | 32,500.00 |
| Containerized Block ice machine | IFBC10T-R2WM | 10t/24h | 47,600.00 |
| Freight (20gp FCL shipment) CAF Douala Port | 2,850.00 |
| Freight (20gp FCL shipment) CAF Douala Port | 4,500.00 |

Putting into the container (refrigerating unit in the outward of the container),including refrigerating unit, cooling tower, water pump, connecting PVC pipes,connecting power line,pouring into brine to the scale mark after clean the brine tank, pouring into clean water to the scale mark after clean the ice rind (water pipes and wires not included, match one-time use solid salt)

1). COMMERCIAL ITEMS

| Remarks |  |
| --- | --- |
| Trade terms | CAF Douala Port |
| Payment terms | Telegraphic Transfer. 30% deposit after PO confirmed. Balance paid before delivery. |
| Delivery | 35 days after deposit, depends on model and quantity |
| Validity | 30days |
| Warranty period | 1 year after B/L date. Any failure occurred within the period due to our responsibility, we'll supply you the spare parts for free, and permanent technical support & consultation all life long for the machines. |
| Note | CE approved certificate |

2). Containerized Block Ice Machine Technical Parameter

| Model Parameters | IFBC3T-R2WM | IFBC5T-R2WM | IFBC10T-R2WM |
| --- | --- | --- | --- |
|  | 20ft | 40ft | 40ft |
| Compressor Model | 4JE-15 | 6HE-28 | 6HE-28*2 |
| Design capacity | 3000kg/24h | 5000kg/24h | 10000kg/24h |
| Refrigeration capacity | 27.4kW | 48.8kW | 97.6kW |
| Evaporating temp. | -15℃ | -15℃ | -15℃ |
| Condensing temp. | 40℃ | 40℃ | 40℃ |
| Total input | 15.27 kW | 27.85 kW | 50.5kW |
| Power of compressor | 11.9kW | 18.6 kW | 18.6*2 kW |
| Water pump of cooling tower | 1.5kW | 2.2kW | 5.5kW |
| Power of cooling fan | 0.37 kW | 0.75kW | 1.5 kW |
| Water pump input | 1.1kW | 2.2 kW | 2.2 kW |
| Power of electric hoist | 0.4kW | 0.4kW | 0.4kW |
| Agitator |  | 3.7 kW | 3.7 kW |
| Power supply | 380V/3P/50Hz |
| Water feeding pressure | 0.1Mpa－0.5Mpa |
| Refrigerant | R22 |
| Design ambient temp. | 30℃ |
| Design water inlet temp. | 20℃ |
| Ice temp. | -10℃ |
| Each weight of the block ice | 25kg |
| Dimension of ice | 390*120*600 |
| Each freezing time | 11h | 11h | 11h |
| Each doff ice time | 0.4h | 0.5h | 0.8h |
| Ice Machine Diameter | 1800*1000*1350 | 2050*1000*1370 | 2160*1400*1940 |
| Dimension of cooling tower | φ1165*1645 | φ1385*2150 | φ1880*2120 |
| Unit weight | 6t | 7.5t | 9t |
| Unit Operating Weight | 10t | 13t | 16t |

- . Guarantee, technical support and failure claim procedures

a. All Icesta ice systems delivered to customers are carefully examined and tested before delivery. Complete

systems are 72 hours trouble-free trial operated, pre-wired and plug-in ready. All machines are CE certificated.

b. All ICESTA ice systems enjoy 24 months guarantee ever since B/L date.

Technical support

a. ICESTA provide full technical support and training courses after equipment installation and commissioning.

b. 7*12 hours phone assistance on technical support.

Failure Claim procedures

a. Detailed written failure description is required by fax or by mail, indicating the relevant equipment information

and detailed description of failure.

b. Relevant pictures are required for failure confirmation.

c. ICESTA engineering and after-sales service team will check and form a diagnosis report.

d. Further trouble-shooting solutions will be offered to customers within 24 hours after receiving the written description and pictures.