Beijing Shijizhengfang Science & Technology Development Co.,Ltd

Q-Switch Nd Yag Laser Tattoo Removal Machine
Item No. :  F12

Medical CE1023, CE, ISO13485, ISO9001 approval

Specificaton

| Type of Laser | D-Class alexandrite diamond Q-switch |
| --- | --- |
| Wavelength | Dual wavelength 1064nm and 532nm |
| Pulse Width | 3.5ns |
| Pulse Energy | 1000mj |
| Facular Diameter | 1~6mm |
| Pulse Frequency | 1,2,3,4,5,6 Hz |
| Cooling system | Air+water+Temperature control cooling |
| Power | 250W |
| Gross Weight | 23KG |
| Packing size | 55×46×53cm (L×W×H) |

Application

- Remove coffee, brown and all kinds of tattoo;

- Dermis spot, fleck, black nevus, age pigment, birthmark and Nevus of Ota;

- Remove all kinds of embroider eyebrow, embroider lip, soak lip, embroider eye line and lip line.

Features

- Fashion handpiece design, easy to operate

- Color touch screen, 6 separate applications, 15 languages.

- Best lamp (65mm). Xenon lamp is the light source of the machine and the only consumable part. There are two types of xenon lamp-45mm and 65mm in length. We adopts the better one 65mm, which guarantees 600,000 flashes. Normally it reaches 800,000 ~ 1,200,000 flashes.

4. Infrared aiming light is optional, easy to operate.

5. Two treatment heads. 1064 for Black, ink, blue tattoo; 532 for red, coffee, brown and rest colors tattoo.

Safety Packing

Foam plastics: thick foam plastic with Aluminium packing, guarantee 100% safety transportation.

Shipment