|  |  |
| --- | --- |
| SPRAY BOOTHS IMPORTER | 2017 |
|  |  |  |  |

SPECIAL SPRAY BOOTH REQUIREMENT

COMPANY**： METCHAL I** DATE：**02.02.2017**

|  |  |  |
| --- | --- | --- |
| NO. | ITEM | DESCRIPSION Spray booth |
| 1 | INSIDE SIZE | Total **7000x4000x3000**(LxWxH)mm / |
| If you are not sure the size of spray booth, please fill in the size of the goods which will be painted. |
| 2 | SIZE OF GOODS |  2 section: (L) mm |
| 3 | WALL PANEL INSULATION | ROCK WOOL □X | EPS □ | PU □ |
| 4 | ROOF PANEL | ROCK WOOL □X | EPS □ | PU □ |
| 5 | MAIN DOOR INSULATION | ROCK WOOL □X | EPS □ | PU □ |
| 6 | INTAKE AND EXHAUST AIR CABINET POSITION | RIGHT □X | LEFT □ | REAR □ | TOP □ |
| 7 | MATEIRAL OF CABINET FRAME | ALUMINIUM ALLOY □ | QUADRATE STEEL □X |
| 8 | WITH BASEMENT | UP GROUND □ | DOWN GROUND □X |
| 9 | WITHOUT BASEMENT | PIT □X | EXHAUST FROM SIDE WALL□ | EXHAUST FROM REAR WALL□ |
| 10 | GRILLE | ALL □X | 3 ROWS □ | 2 ROWS□ | NO GRIDS □X |
| 11 | RAMP | RAMP OUT□ | RAMP IN □ | NO RAMP □X |
| 12 | BURNER | DIRECT(GAS) □ | GAS □X | OIL □ |
| SINGLE STAGE □ | 2 STAGE □X |
| 14 | ACCESS DOOR STYLE | ONE DOOR □X | DRIVE THROUGH □ | ELECTRICALSHUTTER□ |
| 15 | DOOR COLOR | WHITE □ | ORANGE □ | BLUE □X |
| 16 | CABIN COLOR | WHITE □ | ORANGE □ | BLUE □X |
| 17 | SIDE LIGHTS | VERTICAL □X | HORIZONTAL □ | NO □ |
| 18 | CONTROL PANEL | WITH □X (All components with CE) | WITHOUT □ |
| 19 | VOLTAGE AND FREQUENCY OF POWER | 3 PHASE x , 220/380 V, 5 0 Hz(eg: 3phase x 380V,50HZ) |

|  |  |
| --- | --- |
| SPRAY BOOTHS IMPORTER | 2017 |
|  |  |  |  |

|  |  |  |
| --- | --- | --- |
| 20 | SPECIAL REQUIREMENT | 1. illumination min .1200 lux/m2,
2. service door 2000x800
3. inverters for each electric motors, ,
4. air intake/exhaust pipes 16 pcs
5. Gas burner
6. air flow 30000 m3/h
7. Optional give price version with EPS
 |