| Equipment | Test | Applicable Norm |
| --- | --- | --- |
| Photo-goniometer. | Photometrics Photometric parameters | RETILAP |
| Glow wire test equipment | Glow wire to 650 , 750, 850 y 960 °C | RETILAP, RETIE products |
| Concial Flame equipment | Conical flame | RETILAP, RETIE products |
| Quemador de aguja |  |  |
| Prueba de dedop normalizado (choque electrico) | Protection against electric shocks | RETILAP Productos RETIE, Seguridad refrigerators y gasdomestics |
| Hypot (Variac - Rigidez electrica) (AC y DC) | Dielectric strength | RETILAP Productos RETIE, Seguridad refrigerators y gasdomestics |
| Megometer (High resistance bridge) | Insulation resistance | RETILAP, RETIE products |
| Low resistance bridge | Electric resistance | RETILAP, RETIE products |
| IP Test Equipment | Determination of IP Protection grade | RETILAP |
| IK Test Equipment | Impact or Mechanical resistance test | RETILAP, RETIE products |
| Profile projector | Dimentional | All |
| Cab for flammability test | Flammability in different materials | RETILAP, RETIE products |
| corrosion and humidity test |  | Various |
| 500 °C Circulation heater |  | Various |
| Spectrophotometry equipment |  | Metal chemical components |
| Temperature measurement equipment (Thermocouples) | Heating |  |
| Multimeters |  | Various |
| Wattmeter |  | Various |
| Luxometer | Luminous Fluid | RETILAP |
| Vibrating table | Vibration Test | RETILAP |