参考网址： gasanalyzercn.com

过程分析成套系统配置

技

术

方

案

潍坊华分赛瑞分析仪器技术股份有限公司

2020年03月25日

Online Gas Analyzing Solution

Solution 1: online gas analyzing and pretreatment system configuration (standard configuration)

| Item |  | Applications |  |
| --- | --- | --- | --- |
|  | Product name | Specifications | Quantity | Notes |
| Gas analyzer | Electrochemical Gas Analyzer | Model: SR-2030 Range: 0－25% Signal output: 4－20mA | 2 sets | Key parts use German brand PK |
|  | Thermal Conductivity Gas Analyzer | Model: SR-2050 Range: 0－10% Signal output:4－20mA | 2 sets |  |
|  | Combustible and Toxic Gas Detector | Model: SR-3000 Range: 0－300ppm Signal output:4－20mA | 2 sets |  |
|  | Non Dispersive Infrared Gas Analyzer (NDIR) | Model: SR-2000 Range: 0－10% Signal output:4－20mA | 2 sets |  |
| Sample gas acquisition unit | Sampling probe | SR03-0141 Material: stainless steel | 14 pieces |  |
|  | Accessory | Flange, bolt, gasket, etc. | 14 sets |  |
| Sample gas pipeline | PTFE Pipe | Φ10 Material: PTFE | 165 meters |  |
| Sample gas pretreatment unit | Ball valve | Φ14 Material: stainless steel | 2 pieces |  |
|  | Ball valve | Φ6 Material: stainless steel | 2 pieces |  |
|  | Solenoid valve | SR03-016603 Brand: Shanghai Juliang | 3 pieces |  |
|  | Gas scrubber | SR03-0030B Brand: HFSR | 2 pieces |  |
|  | Universal filter | SR03-0041D Brand: HFSR | 2 pieces |  |
|  | Anticorrosion air pump | SR03-002088 Brand: German PK | 2 pieces |  |
|  | Two channel electrical condenser | SR03-0080 Brand: HFSR | 2 pieces |  |
|  | Water collector | SR03-0190A Brand: HFSR | 2 pieces |  |
|  | Peristaltic pump | SR03-009934 Brand: Baoding Ditron-tech | 2 pieces |  |
|  | Dryer | SR03-0070A Brand: HFSR | 4 pieces |  |
|  | Desulfurizer | SR03-0060A Brand: HFSR | 4 pieces |  |
|  | Ultrafilter | SR03-016115 Brand: German PK | 4 pieces |  |
|  | Instrument flowmeter | SR03-016254 0.1-1L/min | 2 pieces |  |
|  | Vent gas flow meter | SR03-002167 0.5-5L/min | 2 pieces |  |
|  | Valve bank | Sample gas switch valve, sample gas interface | 8 sets |  |
|  | Accessories | Tube inserting, three-way pipe, bulkhead union, straight joint pipe, lead wire, pipelines, etc. Material: stainless steel | several |  |
|  | Safety blowdown system | Safety blowdown, integrated pipeline | 2 sets |  |
|  | Fire suppression and venting system | Safe ventilation cap, flame arrester | 2 sets |  |
|  | Carbon steel cabinet | Front and rear opening doors, the front door has a window. Dust proof and corrosion resistant. Material: powder coating carbon steel Size: 2200*800*600mm | 2 sets |  |

Stainless steel cabinet is also available, with a size of 2200*800*600mm.

Consumables:

Gas analyser: security filter inside the analyser should be replaced periodically.

Pretreatment system: filter elements, reagents and seals need to be replaced regularly.

Solution 2: online gas analyzing and pretreatment system configuration (low-level configuration)

| Item |  | Applications |  |
| --- | --- | --- | --- |
|  | Machine name | Specifications | Quantity | Notes |
| Gas analyzer | Electrochemical Gas Analyzer | Model: SR-2030 Range: 0－25% Signal output: 4－20mA | 2 sets | Key components are from German Brand PK. |
|  | Thermal Conductivity Gas Analyzer | Model: SR-2050 Range: 0－10% Signal output: 4－20mA | 2 sets | Key components are from domestic Brand SINGOAN PK. |
|  | Combustible and Toxic Gas Detector | Model: SR-3000 Range: 0－300ppm Signal output: 4－20mA | 2 sets |  |
|  | Non Dispersive Infrared Gas Analyzer (NDIR) | Model: SR-2000 Range: 0－10% Signal output: 4－20mA | 2 sets |  |
| Sample gas acquisition unit | Sampling probe | SR03-0141 Material: stainless steel | 14 pieces |  |
|  | Accessory | Flange, bolt, gasket, etc. | 14 sets |  |
| Sample gas pipeline | PTFE Pipe | Φ10 Material: PTFE | 165 meters |  |
| Sample gas pretreatment unit | Ball valve | Φ14 Material: stainless steel | 2 pieces |  |
|  | Ball valve | Φ6 Material: stainless steel | 2 pieces |  |
|  | Universal filter | SR03-0041D Brand: HFSR | 2 pieces |  |
|  | Anticorrosion air pump | SR03-002088 Brand: German PK | 2 pieces |  |
|  | Two channel electrical condenser | SR03-0080 Brand: HFSR | 2 pieces |  |
|  | Water collector | SR03-0190A Brand: HFSR | 2 pieces |  |
|  | Dryer | SR03-0070A Brand: HFSR | 2 pieces |  |
|  | Desulfurizer | SR03-0060A Brand: HFSR | 2 pieces |  |
|  | Ultrafilter | SR03-016115 Brand: German PK | 4 pieces |  |
|  | Instrument flowmeter | SR03-016254 0.1-1L/min | 2 pieces |  |
|  | Vent gas flow meter | SR03-002167 0.5-5L/min | 2 pieces |  |
|  | Valve bank | Sample gas switch valve, sample gas interface | 8 sets |  |
|  | Accessories | Tube inserting, three-way pipe, bulkhead union, straight joint pipe, lead wire, pipelines, etc. Material: stainless steel | Several |  |
|  | Safety blowdown system | Safety blowdown, integrated pipeline | 2 sets |  |
|  | Fire suppression and venting system | Safe ventilation cap, flame arrester | 2 sets |  |
|  | Carbon steel cabinet | Front and rear opening doors, the front door has a window. Dust proof and corrosion resistant. Material: powder coating carbon steel Size: 2200*800*600mm | 2 sets |  |

Stainless steel cabinet is optional, with a size of 2200*800*600mm.

This solution adopts low-level configuration and the key components of the analyser are from domestic brands. So the analysers are cost effective, but their performance, stability and service life are not as good as the imported products of standard configuration. Its pretreatment system is also simplified, thus offering reduced handling capacity compared with the standard configuration. This may result in increased maintenance and reduced life span.

Consumables:

Gas analyser: security filter inside the analyser should be replaced periodically.

Pretreatment system: filter elements, reagents and seals need to be replaced regularly.