A: Спецификация

| Название продукта | Солнечная T-PV CLAS комбинат |
| --- | --- |
| Модель | HGC-0.8/6.5KZ |
| Площадь раскрыва | 0,8 ㎡ |
| Общий размер (Д × Ш × В) | 1000 мм × 445 мм × 170 мм |
| Материал рамы | Оцинкованная плита |
| Светоотражающий материал | Светоотражающие алюминиевые |
| Труба внутренняя температура | Застой температур :200-350 ℃ Cook Temp : 150-250 ℃ |
| Самая высокая температура | $350 |
| ДиаметрТрубы | φ 120 / φ 96x950mm нержавеющей стали |
| Вес | 25 кг |
| Панели солнечных батарей. | Пиковая мощность (W) | 34 |
|  | Пик напряжения (V) | 18 |
|  | Пиковый ток (A) | 1.9 |

B: Specification

| Product Name | Solar T-PV CLAS Combine |
| --- | --- |
| Product Model | HGC-2.23/60 K |
| Aperture Area | 2.23㎡ |
| Outline Dimension (L×W×H) | 1800mm×240mm×1490mm |
| Frame Material | Galvanized Plate |
| Reflective Material | Reflective Aluminum |
| Tube Inside Temperature | Stagnation Temp:200-350℃ Cook Temp:200-300℃ |
| Oven Inside Temperature | Stagnation Temp:100-180℃ Cook Temp: 100-140℃ |
| Highest Temperature | 400℃ |
| Length of Vacuum Tube | 2.0m |
| Weight | 144kg |
| Optical efficiency | 72% |
| Operation Height | Tracking height:1940mm, Level height:1490m |

- Basic parameters of solar module

| Solar Module Model | HG-57(10)S 1346×286 |
| --- | --- |
| Peak Power (W) | 57 |
| Peak Voltage (V) | 10.6 |
| Peak Current (A) | 5.38 |
| Short Circuit Current (A) | 5.76 |
| Open Circuit Voltage (V) | 12.7 |
| Temperature Coefficient of Short Circuit Current | +0.033%/K |
| Temperature Coefficient of Open Circuit Current | -0.241%/K |
| Temperature Coefficient of Peak Power | -0.37%/K |
| Load | 12V |
| Working Temperature | -40℃~ +85℃ |

C: Specification

| Product Name | Solar T-PV CLAS Combine |
| --- | --- |
| Product Model | HGC-2.93/70 K |
| Aperture Area | 2.23㎡ |
| Outline Dimension (L×W×H) | 2375mm×2595mm×1721mm |
| Frame Material | Galvanized Plate |
| Reflective Material | Reflective Aluminum |
| Tube Inside Temperature | Stagnation Temp:200-350℃ Cook Temp:200-300℃ |
| Oven Inside Temperature | Stagnation Temp:100-180℃ Cook Temp: 100-140℃ |
| Highest Temperature | 400℃ |
| Length of Vacuum Tube | 2.0m |
| Weight | 160kg |
| Optical efficiency | 72% |
| Operation Height | Tracking height:1940mm, Level height:1490m |

- Basic parameters of solar module

| Solar Module Model | HG-75(4.5)S 1200×420x25 |
| --- | --- |
| Peak Power (W) | 75 |
| Peak Voltage (V) | 4.73 |
| Peak Current (A) | 15.9 |
| Short Circuit Current (A) | 17.2 |
| Open Circuit Voltage (V) | 5.71 |
| Temperature Coefficient of Short Circuit Current | +0.033%/K |
| Temperature Coefficient of Open Circuit Current | -0.241%/K |
| Temperature Coefficient of Peak Power | -0.37%/K |
| Load | 12V |
| Working Temperature | -40℃~ +85℃ |